## Report
Sample Name | p04uL control
Position | P1-F3
Acquired Time | 11/15/2013 11:59:14 AM
Instrument Name
Acq Method | FBF_B05_062812_10K_JP1004.m
IRM Calibration Status | Success
Comment
Acquisition SW Version | 6200 series TOF/6500 series Q-TOF B.05.01 (B5125)
DA Method | Isotopomer_extraction.m
Compound Label | Name | Mass | RT | tgtRtdiff | filename | AA+seq-mod | Sequence | Modifications | Score (DB) | Isotope Cluster | z | Ion | m/z | Abund | m/z | Abund | m/z | Abund | m/z | Abund | m/z | Abund | m/z | Abund
Cpd 1: P02769+Serum albumin | P02769+Serum albumin | 1477.5211 | 10.112 | 0.562 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | 106+ETYGDMADCCEK-C:Carbamidomethylation |  |  | 63.73 | 1 | 3 | (M+3H)+3 | 493.5161 | 2758.36 | 493.85 | 2273.26 | 494.1878 | 1524.11 | 494.5285 | 1332.68 | 494.8668 | 797.09 | 495.2012 | 416.75
Cpd 1: P02769+Serum albumin | P02769+Serum albumin | 1477.5211 | 10.112 | 0.562 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | 106+ETYGDMADCCEK-C:Carbamidomethylation |  |  | 63.73 | 2 | 2 | (M+2H)+2 | 739.7676 | 102819.63 | 740.2688 | 74431.67 | 740.7687 | 45146.33 | 741.2692 | 19775.65 | 741.7696 | 7360.68 | 742.27 | 2598.8 | 742.7693 | 760.3 | 743.2503 | 329.39 | 743.771 | 63.46
Cpd 1: P02769+Serum albumin | P02769+Serum albumin | 1477.5211 | 10.112 | 0.562 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | 106+ETYGDMADCCEK-C:Carbamidomethylation |  |  | 63.73 | 3 | 1 | 1478.522 | 364.56 | 1479.5243 | 216.66 | 1480.5216 | 98.42 | 1481.5275 | 28.23

## Design (hidden)
CMD:Repeat | ItemID
ItemID | Data File | Sample Name | Sample Type | Position | Instrument Name | User Name | Acq Method | Acquired Time | IRM Calibration Status | DA Method | Comment
1 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | p04uL control | Sample | P1-F3 |  |  | FBF_B05_062812_10K_JP1004.m | 11/15/2013 11:59:14 AM | Success | Isotopomer_extraction.m
CMD:Repeat | ItemID
ItemID | AttrID | Column3 | Column4
1 | 1 | Sample Group
1 | 2 | Info.
1 | 3 | Formula
1 | 4 | Protein
1 | 5 | Acquisition SW Version | 6200 series TOF/6500 series Q-TOF B.05.01 (B5125)
CMD:EndRepeat | ItemID
CMD:EndRepeat | ItemID
CMD:Repeat | ItemID
ItemID | Fragmentor Voltage | Collision Energy | Ionization Mode
ItemID | PlotFile
User Chromatogram Peak List
ItemID | PeakID | Peak # | Compound Name | Compound Number | RT | Height | Normalized Height | Height % | Area | Area % | Area Sum % | Base Peak m/z | S/N | Resolution | Capacity Factor | Plates | Plates/M | Symmetry | Tailing Factor | Width
CMD:EndRepeat | ItemID
Compound Table | FALSE
Compound Label | Data File | RT | Mass | Abund | Name | Formula | Tgt Mass | Diff (ppm) | MFG Formula | MFG Diff (ppm) | DB Formula | DB Diff (ppm) | Hits (DB) | Purity Value | Purity Result | Purity Comments | Data File2
Cpd 1: P02769+Serum albumin |  | 10.112 | 1477.5211 | 102820 | P02769+Serum albumin | C57 H87 N15 O25 S3 | 1477.5157 | 3.64 | C57 H87 N15 O25 S3 |  | C57 H87 N15 O25 S3 | -3.64 |  |  |  |  | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d
Cpd 2: P02769+Serum albumin |  | 13.53 | 1638.9394 | 63160 | P02769+Serum albumin | C72 H126 N20 O23 | 1638.9307 | 5.28 | C72 H126 N20 O23 |  | C72 H126 N20 O23 | -5.28 |  |  |  |  | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d
Cpd 3: P02769+Serum albumin |  | 18.766 | 1398.6909 | 829 | P02769+Serum albumin | C64 H98 N14 O19 S | 1398.6857 | 3.7 | C64 H98 N14 O19 S |  | C64 H98 N14 O19 S | -3.7 |  |  |  |  | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d
Matched Sequences
Sequence | RT | Area | Mass | Tgt Mass | Diff (ppm) | Diff (mDa) | Predicted Modifications
CMD:Repeat | ItemID
ItemID | Name | Analysis | Sequence File | Chemical Formula | Missed Cleavages | Digest Reagent(s) | MW (Monoisotopic) | MW (Average) | Sequence Type | Coverage %
ItemID | ImageID | Chain | File
CMD:EndRepeat | ItemID
CMD:Repeat | ItemID
CMD:Repeat | SourceSpectraID
Source Spectrum
ItemID | SourceSpectraID | FullRangeMSSpectrum
Source Spectrum Peak List
ItemID | SourceSpectraID | m/z | z | Neutral Mass | Abund | Ion | m/z Diff
CMD:EndRepeat | SourceSpectraID
CMD:Optional | IncludeTitleBlock
ItemID | Compound Label | Name | Mass | RT | tgtRtdiff | filename | AA+seq-mod | Sequence | Modifications | Score (DB)
1042 | Cpd 1: P02769+Serum albumin | P02769+Serum albumin | 1477.5211 | 10.112 | 0.562 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | 106+ETYGDMADCCEK-C:Carbamidomethylation |  |  | 63.73
1045 | Cpd 2: P02769+Serum albumin | P02769+Serum albumin | 1638.9394 | 13.53 | 0.72 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | 437+KVPQVSTPTLVEVSR-none |  |  | 64.24
1048 | Cpd 3: P02769+Serum albumin | P02769+Serum albumin | 1398.6909 | 18.766 | 0.746 | BSA1B_JP1004_p04uL_Tcontrol_MS_rep2Q1-20.d | 569+TVMENFVAFVDK-none |  |  | 62.54
CMD:EndOptional | IncludeTitleBlock
Compound Chromatograms
ItemID | CompoundChromatogram1 | CompoundChromatogram2
ItemID | CompoundChromatogram1
ItemID | MSSpectrumID | Title | FullRangeMSSpectrum
ItemID | MSSpectrumID | Title | ZoomedMSSpectrum
Library Spectrum
ItemID | Library Spectrum
Difference Spectrum
ItemID | Difference Spectrum
MS Spectrum Peak List
ItemID | MSSpectrumID | m/z | Calc m/z | Isotope Cluster | z | Abund | Ion | Saturated
1042 | 1 | 493.5161 |  | 1 | 3 | 2758.36 | (M+3H)+3
1042 | 1 | 493.85 |  | 1 | 3 | 2273.26 | (M+3H)+3
1042 | 1 | 494.1878 |  | 1 | 3 | 1524.11 | (M+3H)+3
1042 | 1 | 494.5285 |  | 1 | 3 | 1332.68 | (M+3H)+3
1042 | 1 | 494.8668 |  | 1 | 3 | 797.09 | (M+3H)+3
1042 | 1 | 495.2012 |  | 1 | 3 | 416.75 | (M+3H)+3
1042 | 1 | 739.7676 |  | 2 | 2 | 102819.63 | (M+2H)+2
1042 | 1 | 740.2688 |  | 2 | 2 | 74431.67 | (M+2H)+2
1042 | 1 | 740.7687 |  | 2 | 2 | 45146.33 | (M+2H)+2
1042 | 1 | 741.2692 |  | 2 | 2 | 19775.65 | (M+2H)+2
1042 | 1 | 741.7696 |  | 2 | 2 | 7360.68 | (M+2H)+2
1042 | 1 | 742.27 |  | 2 | 2 | 2598.8 | (M+2H)+2
1042 | 1 | 742.7693 |  | 2 | 2 | 760.3 | (M+2H)+2
1042 | 1 | 743.2503 |  | 2 | 2 | 329.39 | (M+2H)+2
1042 | 1 | 743.771 |  | 2 | 2 | 63.46 | (M+2H)+2
1042 | 1 | 1478.522 |  | 3 | 1 | 364.56 | (M+H)+
1042 | 1 | 1479.5243 |  | 3 | 1 | 216.66 | (M+H)+
1042 | 1 | 1480.5216 |  | 3 | 1 | 98.42 | (M+H)+
1042 | 1 | 1481.5275 |  | 3 | 1 | 28.23 | (M+H)+
1045 | 2 | 410.7423 |  | 1 | 4 | 5196.07 | (M+4H)+4
1045 | 2 | 410.9933 |  | 1 | 4 | 4238.76 | (M+4H)+4
1045 | 2 | 411.2419 |  | 1 | 4 | 2498.58 | (M+4H)+4
1045 | 2 | 411.494 |  | 1 | 4 | 762.67 | (M+4H)+4
1045 | 2 | 411.7259 |  | 1 | 4 | 190.66 | (M+4H)+4
1045 | 2 | 411.9863 |  | 1 | 4 | 299.12 | (M+4H)+4
1045 | 2 | 547.3205 |  | 2 | 3 | 702183.5 | (M+3H)+3
1045 | 2 | 547.6549 |  | 2 | 3 | 628888.25 | (M+3H)+3
1045 | 2 | 547.9891 |  | 2 | 3 | 311686.78 | (M+3H)+3
1045 | 2 | 548.3231 |  | 2 | 3 | 110779.53 | (M+3H)+3
1045 | 2 | 548.6573 |  | 2 | 3 | 31238.11 | (M+3H)+3
1045 | 2 | 548.9913 |  | 2 | 3 | 7288.48 | (M+3H)+3
1045 | 2 | 549.3144 |  | 2 | 3 | 1780.7 | (M+3H)+3
1045 | 2 | 820.4748 |  | 3 | 2 | 63159.64 | (M+2H)+2
1045 | 2 | 820.9762 |  | 3 | 2 | 57324.94 | (M+2H)+2
1045 | 2 | 821.4774 |  | 3 | 2 | 27746.47 | (M+2H)+2
1045 | 2 | 821.9787 |  | 3 | 2 | 9553.93 | (M+2H)+2
1045 | 2 | 822.4797 |  | 3 | 2 | 2897.16 | (M+2H)+2
1045 | 2 | 822.9739 |  | 3 | 2 | 735.12 | (M+2H)+2
1045 | 2 | 823.4669 |  | 3 | 2 | 110.27 | (M+2H)+2
1048 | 3 | 467.2383 |  | 1 | 3 | 41658.75 | (M+3H)+3
1048 | 3 | 467.5726 |  | 1 | 3 | 33223.33 | (M+3H)+3
1048 | 3 | 467.9065 |  | 1 | 3 | 16141.39 | (M+3H)+3
1048 | 3 | 468.2402 |  | 1 | 3 | 6333.04 | (M+3H)+3
1048 | 3 | 468.574 |  | 1 | 3 | 1959.71 | (M+3H)+3
1048 | 3 | 468.9102 |  | 1 | 3 | 1228.68 | (M+3H)+3
1048 | 3 | 469.2297 |  | 1 | 3 | 97.07 | (M+3H)+3
1048 | 3 | 700.3527 |  | 2 | 2 | 398026.94 | (M+2H)+2
1048 | 3 | 700.8541 |  | 2 | 2 | 309150.22 | (M+2H)+2
1048 | 3 | 701.3547 |  | 2 | 2 | 147238.13 | (M+2H)+2
1048 | 3 | 701.8553 |  | 2 | 2 | 53353.66 | (M+2H)+2
1048 | 3 | 702.3559 |  | 2 | 2 | 16151.47 | (M+2H)+2
1048 | 3 | 702.857 |  | 2 | 2 | 3885.62 | (M+2H)+2
1048 | 3 | 703.3496 |  | 2 | 2 | 2628.19 | (M+2H)+2
1048 | 3 | 1399.6915 |  | 3 | 1 | 829.43 | (M+H)+
1048 | 3 | 1400.6931 |  | 3 | 1 | 658.88 | (M+H)+
1048 | 3 | 1401.6973 |  | 3 | 1 | 352.18 | (M+H)+
1048 | 3 | 1402.6851 |  | 3 | 1 | 79.56 | (M+H)+
Predicted Isotope Match Table
ItemID | Isotope | m/z | Calc m/z | Diff (ppm) | Abund % | Calc Abund % | Abund Sum % | Calc Abund Sum %
ItemID | MSMSSpectrumID | Title | MSMSSpectrum
MS/MS Spectrum Peak List
ItemID | MSMSSpectrumID | m/z | Calc m/z | Diff (ppm) | z | Abund | Formula | Ion
Compound Structure
ItemID | Structure
CMD:EndRepeat | ItemID
--- End Of Report ---
Note on A3: Table(Transpose2)
Note on B3: Width(15)
Note on C3: Width(15)
Note on D3: Width(15)
Note on E3: Width(15)
Note on F3: Width(15)
Note on G3: Width(15)
Note on H3: Width(15)
Note on J3: Width(15)
Note on K3: Width(15)
Note on L3: Width(15)
Note on A7: Table(Combine1,2)
Note on C7: Width(12)
Note on D7: Width(16)
Note on A19: Table(Transpose3)
Note on B22: Graphic
Note on A25: Association(Below)
Note on A31: Association(Below)
Note on A32: Width(15)
Note on B32: Width(15),Formula
Note on F32: Width(15)
Note on G32: Width(15)
Note on I32: Width(6)
Note on J32: Width(15)
Note on K32: Width(8)
Note on L32: Width(15)
Note on N32: Width(5)
Note on O32: Width(6)
Note on P32: Width(6)
Note on Q32: Width(8)
Note on R32: Hidden
Note on A37: Association(Below)
Note on A44: Table(Transpose2)
Note on B44: Width(20)
Note on C44: Width(20)
Note on D44: Width(20)
Note on E44: Width(20)
Note on F44: Width(20)
Note on G44: Width(20)
Note on H44: Width(20)
Note on I44: Width(20)
Note on J44: Width(20)
Note on K44: Width(20)
Note on D47: Graphic
Note on A53: Association(Below)
Note on C54: Graphic
Note on A57: Association(Below)
Note on B65: Width(15)
Note on C65: Width(15)
Note on G65: Width(15)
Note on A72: Association(Below)
Note on B73: Graphic(2)
Note on C73: Graphic(2)
Note on B76: Graphic
Note on D79: Graphic
Note on D82: Graphic
Note on A85: Association(Below)
Note on B86: Graphic
Note on A89: Association(Below)
Note on B90: Graphic
Note on A93: Association(Below)
Note on H94: Width(15)
Note on A153: Association(Below)
Note on D157: Graphic
Note on A160: Association(Below)
Note on H161: Width(15)
Note on A165: Association(Below)
Note on B166: Graphic

## Options (hidden)
Parameter | Type | Value | Comment
Use Options | Boolean | TRUE
Include Title Block | Boolean | TRUE
Include Header | Boolean | TRUE
Include Footer | Boolean | TRUE
Landscape | Boolean | FALSE
Fit to | Integer | 1 | Page(s) wide
| Integer | 0 | Page(s) tall
Hide Empty Columns | Boolean | FALSE
Note: The following options will be observed regardless of the Use Options value.
Hide ID Columns | Boolean | TRUE
Add Smart Page Breaks and Table Headers | Boolean | TRUE | Use inserting and merging cells to allow adjusting table column widths
Adjust columns to fit data | Boolean | FALSE
Protect Results | Boolean | FALSE | not an imported option
Use Password | Boolean | FALSE | not an imported option